Medical Textile


Medical Textile:
Definition: A general term which describes a textile structure which has been designed and produced for use in any of a variety of medical applications, including implantable applications. 

An important and growing part of the textile industry is medical, hygene and health sector. The extent of growth is due to the development and improvement of knowledge in both textile as well as medical sector. 

The engineering approach to develop textile products that will be suitable for medical and surgical application should possess a combination of the following properties 

e.g. strength, flexibility, and sometimes moisture and air permeability. 

Materials include natural fibre, monofilament as well as multifilament yarns.  

The number of application is huge and diverse, ranging from a single thread suture to the complex composite structures for bone replacement, and from the simple cleaning wipe to advanced barrier fabrics used in operation rooms. Thus the textiles used in medical and surgical purposes can be classified as follows;

· Nonplantable materials-Wound dressing, bandages, plasters etc.

· Extracorporeal devices- artificial kidney, liver, and lung

· Implantable materials-suture, vascular grafts, artificial ligaments, artificial joints, etc.

· Healthcare/hygine products-bedding, clothing, surgical gowns, cloths, wipes etc.

The majority of the healthcare products are disposable while some are reused. The medical product based on textiles is around $ 76 billion in the year 2000. 

Fibres used

Fibres used in medical application may be classified as follows;

1. According to source of origin

i. Natural- Cotton and silk most widely used

ii. Synthetic- Viscose, polyester, polyamide, polytetrafluoroethylene (PTFE), polypropylene, carbon, glass, and so on.

2. According to biological resistance

· Biodegradable- Fibres which are absorbed by the body within 2-3 months time after implantation and include Cotton, Viscose rayon, polyamide, polyurathene, collagen, and alginate, polycaprolactone, polypropiolactone.

· Non biodegradable-Fibres that are absorbed by the body slowly and take more than six months time to degrade are considered as non biodegradable. Non-biodegradable fibres and include polyester (e.g. Dacron), polypropylene, PTFE and carbon.

Fibre used in medical textiles must fullfill the following criterion

· the fibres must be nontoxic

· must be non-allergenic

· must be non-carcinogenic

· must be able to be sterilised without imparing any change in their physical or chemical characteristics.

· where necessary biodegradable

· where necessary non biodegradable;

• compatible with most living systems

• versatile in their physical form, i.e. powder, aqueous solutions, films, shaped objects, fibres and sponges, and

• vehicles for transporting and delivering drugs.

Traditionally cotton, silk and viscose have long been used for medical and surgical purposes. One such area of application is wound care, where moisture and liquid exude from the wound is absorbed by the fibrous structure to promote healing in relatively dry conditions. 

However upon healing small fibrous elements protruding from the wound dressing are usually trapped in the pores of the newly formed tissues which make their removal distressing to the patients.

Research show that wound under moist condition would in fact heal better and faster, which would also remove the problem of fibres being trapped in the healing wound. 

The concept of moist healing has since been responsible for the development of many fibres which have vastly improved wound management techniques and patient care.

A variety of polymers such as collagen, alginate, chitin, chitosan have been used to be essential materials for modern wound dressings.

Collagen which has been obtained from bovine skin is used to produce biodegradable fibres used as suture which is as strong as silk. 

The fibre can also be converted to transparent gel like film structure used as contact lens which has very good oxygen permeability.

Alginate (obtained from sea weeds) and chitin (obtained from shrimp shells) are widely used for treatment of wound healing.  Chitin nonwoven fabric is used as artificial skin.
Alginate fibres are naturally occurring, high molecular weight carbohydrates or polysaccharides obtained from seaweeds have found use in the medical textiles. 

Chemically, alginate is a copolymer made from a-l-guluronic acid and b-d-mannuronic acid. 

[image: image1.emf]
It is made into fibres by extruding sodium alginate into a calcium chloride bath where calcium alginate filaments precipitate. The filaments are then drawn, washed and dried. Upon contact with wound fluid, these fibres are partially converted to a water-soluble sodium alginate that swells to form a gel around the wound, thus keeping the wound moist during the healing period. They can then be easily removed once the treatment is complete. 

Artificial polymers based on a crosslinking copolymer of acrylic acid have been developed which are claimed to have superior absorption properties to alginates particularly when used under pressure. 

Hydrocel, a derivative of Acordis’s environmentally friendly Lyocell, is also claimed to be more absorbent than calcium alginate, taking up to 35 times its own weight of water whilst remaining intact.

Chitin is another polysaccharide which, after cellulose, is the most abundantly available natural polymer. It is found in the outer shells of shrimps and crabs in combination with protein and minerals. Medicinal and medical use of this polymer has been realized seriously since the early 1970s. High purity chitin, from which protein, heavy metals and pyrogens have been removed, can be used for a range of applications from food additives for controlling cholesterol levels in blood to artificial skins into which tissues can safely grow. A derivative of chitin, chitosan has better process ability and is now extensively available in fibre form. 

The particular appeal of both chitin and chitosan within biomedical applications is due to their being:

Finally, collagen, a protein-based polymer that is collected from bovine skin and has traditionally been used in hydrogel or gelatine form for making jellies and sausage casing, is now available in fibre form. It is very strong and completely biodegradable.

Besides wound care, fibre-based structures in synthetic or natural form are used in extracorporeal devices that may be used to purify blood in kidneys, create artificial livers and function as mechanical lungs, as well as finding use in suture materials, artificial ligaments and cartilages and cardiovascular implants. In general, healthcare and hygiene products, have applications that cover a wide spectrum from disposable items to surgeons uniforms and hospital bedding and all are becoming increasingly important across the world as the need to produce efficient and effective medical care increases.

A. Nonplantable materials

These materials are used for external application on the body and may or may not make contact with skin. 
The following table illustrates a range of materials used as non-implantable madical textiles.

(i) Wound care products– The purpose of these products are to provide protection against infection, absorb blood and exudates, promote healing and in some instances apply medication into the wound.

Common wound dressings are composite materials consisting of an absorbent layer held between a wound contact layer and a flexible base material. 
The absorbent pad absorbs blood or liquids and provides cushioning effect to protect the wound. 
The wound contact layer should prevent adherence of the dressing to the wound and be easily removed without disturbing new tissue growth. The base materials are normally coated with acrylic adhesive to provide the means by which the dressing is applied to the wound. 

The use of collagen, alginate, and chitin fibres contribute significantly to the healing process.

[image: image2.emf]
When alginate fiber is used as wound contact layer the interaction between the alginate and the exuding wound creates a sodium alginate gel which is hydrophilic and permeable to oxygen and impermeable to the bacteria and contribute to the formation pf new tissue. 

(ii) Gauze- It is an open weave absorbent fabric, when coated with paraffin wax is used for the treatment of burns and scalds. In surgical application gauze serves as an absorbent material.

(iii) Lint- It is a plain weave cotton fabric that is used as protective dressing for first aid and mild burn application. 

(iv) Wadding-It is a highly absorbent material that is covered with a nonwoven fabric to prevent wound adhesion or fibre loss.

(v) Bandages- Bandages are designed to perform a whole variety of specific functions depending upon the final medical requirements. 
They can be -woven, 
         -knitted, 
         -or nonwoven and are 
         -either elastic or nonelastic. 
the most common application of bandages is to hold the dressing in place over wound. 
These are light weight knitted or woven fabrics made of cotton or viscose –scoured, bleached and sterilized. 
Elasticized yarns are incorporated to the structure to impart support and conforming characteristics.  
Knitted bandages are produced either in weft knitting machine to produce tubular fabric of varying diameter or in warp knitting machine. 
Woven light support fabrics are used in the management of sprains or strains and the elasticated properties are obtained by weaving crepe yarns having a very high twist. 
Similar properties can also be obtained by weaving fabric from two warp beam one in low tension and the other in high tension.

Compression bandages are used for the treatment and prevention of deep vein thrombosis, leg ulceration, and varicose veins and are designed to exert a required amount of compression on leg when applied at a constant tension.

Compression bandages are classified by the amount of compression they can exert at the ankle and include extra –high, high, moderate and light compression can be either woven and contain cotton and elastomeric yarns or warp and weft knitted in both tubular or fully fashioned forms.

Orthopaedic cushion bandages are used under plaster casts and compression bandages to provide padding and prevent discomfort.

Nonwoven orthopedic cushion bandages are produced from polyurathene foam, polyester, or ploypropylenefibres and contain blends of natural or synthetic fibres. 
Non woven bandages are lightly needle punched to maintain bulk and loft.  
B. Extracorporeal devices- 
These are mechanical organs that are used for blood purification and include the artificial kidney (dialyser), the artificial liver, mechanical lung. The function and performances of these devices benefit from fibre and textile. 

The function of artificial kidney is achieved by circulating the blood through a membrane, which may be either a flat sheet or a bundle of hollow regenerated cellulose fibres in the form of cellophane that retain the unwanted waste materials. 

Multilayred filters composed of numerous layers of needle punched fabrics with varying densities may also be used and are designed to remove the waste materials rapidly and efficiently.

The artificial liver utilizes hollow fibres or membranes similar to those used in artificial kidney to perform high permeability to gases but low permeability to liquids and function in the same manner as in the natural lung allowing oxygen to come into contact with the patient’s blood.

[image: image3.emf]
C. Implantable materials-
These materials are used in effecting repair to the body whether it be wound closure (Sutures) or replacement surgery (Vascular grafts, artificial ligaments etc.). Table 15.3 show the list of implantable materials. 
Biocompatibility is of prime importance if the textile materials are to be accepted by the body and four key factors will determine how the body reacts to the implant, these are as follows 
1. The most important factor is porosity which determines the rate at which human tissue will grow and encapsulate the implant.

2. Small circular fibres are better encapsulated with human tissue than larger fibres with irregular cross section.

3. Toxic substances must not be released by the fibre polymer, and the fibres should be free from surface contaminations such as lubricants and sizing agents.

4. The properties of the polymer will influence the success of the implantation in terms of its biodegradability.

Polyamide is the most reactive material losing its overall strength after only two years as a result of biodegradation. PTFE is the least reactive with polypropylene and polyester is in between

[image: image4.emf]
SUTURES

Sutures are used for closure of wounds. They are either monofilament or multifilament. Nonbiodegradable sutures are used for closure of external wounds and after healing of the wounds, they are removed. Biodegradable sutures are used for closure of internal wounds; these sutures are gradually absorbed by the body. 

SOFT TISSUE IMPLANTS

Textile materials are used for constructive and corrective surgery of tendons ligaments and cartilage.

Artificial tendons are woven or braided porous meshes or tapes surrounded by a silicone sheath. During implantation the natural tendon can be looped through artificial tendon and then sutured to itself in order to connect the muscle to the bone.

Textile materials used for artificial knee ligaments should not only possess biocompatibility properties but must also have the physical characteristics needed for such a demanding application.

Artificial ligaments are braided composite materials containing carbon and polyester filaments.

There are two types of cartilages found in the human body e.g-(i) Hayline cartilages- these are dense and hard and used where rigidity is needed. (ii) Elastic cartilage- are soft 

Low density polyethylene is used to replace facial, nose, ear and throat cartilage.

Carbon fibre reinforced composites structures are used for hyaline cartilage.  

Orthopedics implants

Orthopedic implants are those materials that are used for hard tissue applications to replace bones and joints. Fibre-reinforced composite materials may be designed with the required high structural strength and biocompatibility properties needed for these applications and are now replacing metal implants for artificial joints and bones. 
To promote tissue ingrowths around the implant a nonwoven

mat made from graphite and PTFE (e.g. Teflon) is used, which acts as an interface between the implant and the adjacent hard and soft tissue. Composite structures composed of poly (d, l-lactide urethane) and reinforced with polyglycolic acid have excellent physical properties.
The composite can be formed into shape during surgery at a temperature of 60 °C and is used for both hard and soft tissue applications. Braided surgical cables composed of steel filaments ranging from 13–130mm are used to stabilize fractured bones or to secure orthopedic implants to the skeleton.

Cardiovascular implants

Vascular grafts are used in surgery to replace damaged thick arteries or veins 6mm, 8mm, or 1 cm in diameter. Commercially available vascular grafts are produced from polyester (e.g. Dacron) or PTFE (e.g. Teflon) with either woven or knitted structures (Fig. 15.7). 
Straight or branched grafts are possible by using either weft or warp knitting technology. Polyester vascular grafts can be heat set into a crimped configuration that improves the handling characteristics. 
During implantation the surgeon can bend and adjust the length of the graft, which, owing to the crimp, allows the graft to retain its circular cross-section. 
Knitted vascular grafts have a porous structure which allows the graft to become encapsulated with new tissue but the porosity can be disadvantageous since blood leakage (hemorrhage) can occur through the interstices directly after implantation. 
This effect can be reduced by using woven grafts but the lower porosity of these grafts hinders tissue ingrowths; in addition, woven grafts are also generally stiffer than the knitted equivalents.

In an attempt to reduce the risk of hemorrhage, knitted grafts have been developed with internal and external velour surfaces in order to fill the interstices of the graft. Another method is to seal or preclot the graft with the patient’s blood during implantation. 
This is a time-consuming process and its effectiveness is dependent upon the patient’s blood chemistry and the skill of the surgeon. 
Presealed grafts have zero porosity when implanted but become porous allowing tissue ingrowths to occur. The graft is impregnated with either collagen or gelatin that, after a period of 14 days, degrades to allow tissue encapsulation. Artificial blood vessels with an inner diameter of 1.5 mm have been developed using porous PTFE tubes. The tube consists of an inner layer of collagen and heparin to prevent blood clot formation and an outer biocompatible layer of collagen with the tube itself providing strength.

Artificial heart valves, which are caged ball valves with metal struts, are

covered with polyester (e.g. Dacron) fabrics in order to provide a means of suturing the valve to the surrounding tissue.

D. Healthcare/hygiene products

Healthcare and hygiene products are an important sector in the field of medicine

and surgery. The range of products available is vast but typically they are used either in the operating theatre or on the hospital ward for the hygiene, care, and safety of staff and patients. Table 15.4 illustrates the range of products used in this category and includes the fibre materials used and the method of manufacture.
[image: image5.emf]
Textile materials used in the operating theatre include surgeon’s gowns, caps and masks, patient drapes, and cover cloths of various sizes (Fig. 15.8). 

It is essential that the environment of the operating theatre is clean and a strict control of infection is maintained. 

A possible source of infection to the patient is the pollutant particles shed by the nursing staff, which carries bacteria. 
Surgical gowns should act as a barrier to prevent the release of pollutant particles into the air. Traditionally, surgical gowns are woven cotton goods that not only allow the release of particles from the surgeon but are also a source of contamination generating high levels of dust (lint). 

Disposable nonwoven surgical gowns have been adopted to prevent these sources of contamination to the patient and do often composite materials comprise nonwoven and polyethylene films for example.

The need for a reusable surgical gown that meets the necessary criteria has

resulted in the application of fabric technology. 
Surgical masks consist of a very fine middle layer of extra fine glass fibres or synthetic microfibres covered on both sides by either an acrylic bonded parallel-laid or wet-laid nonwoven.

The application requirements of such masks demand that they have a high filter capacity, high level of air permeability, are lightweight and non-allergenic. 

Disposable surgical caps are usually parallel-laid or spun-laid nonwoven materials based on cellulosic fibres. 
Operating room disposable products and clothing are increasingly being produced from hydro-entangled nonwovens. 
Surgical drapes and cover cloths are used in the operating theatre either to cover the patient (drapes) or to cover working areas around the patient (cover cloths).

Nonwoven materials are used extensively for drapes and cover cloths and are composed of films backed on either one or both sides with nonwoven fabrics. 

The film is completely impermeable to bacteria while the nonwoven backing is highly absorbent to both body perspiration and secretions from the wound. 
Hydrophobic finishes may also be applied to the material in order to achieve the required bacteria barrier characteristics. 
Developments in surgical drapes has led to the use of loop-raised warp-knitted polyester fabrics that are laminated back to back and contain micro porous PTFE films in the middle for permeability, comfort and resistance to microbiological contaminants.

The second category of textile materials used for healthcare and hygiene products are those commonly used on hospital wards for the care and hygiene of the patient and includes bedding, clothing, mattress covers, incontinence products, cloths and wipes. 
In isolation wards and intensive care units, disposable protective clothing is worn to minimize cross infection.

These articles are made from composite fabrics that consist of tissue reinforced

with a polyester or polypropylene spun-laid web.

Incontinence products for the patient are available in both diaper and flat sheet

forms with the latter used as bedding. The disposable diaper is a composite article consisting of an inner covering layer (coverstock), an absorbent layer, and an outer layer. The inner covering layer is either a longitudinally orientated polyester web treated with a hydrophilic finish, or a spun-laid polypropylene nonwoven material.

A disposable diaper consists of an absorbent pad (This pad is composed of two essential elements, a hydrophilic, or water-loving, polymer and a fibrous material such as wood pulp. The polymer is made of fine particles of an acrylic acid derivative, such as sodium acrylate, potassium acrylate, or an alkyl acrylate. These polymeric particles act as tiny sponges that retain many times their weight in water) sandwiched between two sheets of nonwoven fabric. The pad is specially designed to absorb and retain body fluids, and the nonwoven fabric gives the diaper a comfortable shape and helps prevent leakage. 
These diapers are made by a multi-step process in which the absorbent pad is first vacuum-formed, then attached to a permeable top sheet and impermeable bottom sheet. The components are sealed together by application of heat or ultrasonic vibrations. Elastic fibers are attached to the sheets to gather the edges of the diaper into the proper shape so it fits snugly around a baby's legs and crotch. When properly fitted, the disposable diaper will retain body fluids which pass through the permeable top sheet and are absorbed into the pad.

A number of weft- and warp-knitted pile or fleece fabrics composed of polyester are also used as part of a composite material which includes foam as well as PVC sheets for use as incontinence mats. 

Cloths and wipes are made from tissue paper or nonwoven bonded fabrics, which may be soaked with an antiseptic finish. The cloth or wipe may be used to clean wounds or the skin prior to wound dressing application, or to treat rashes or burns.

Surgical hosiery with graduated compression characteristics is used for a number of purposes, ranging from a light support for the limb, to the treatment of venous disorders. 
Knee and elbow caps, which are normally shaped during knitting on circular machines and may also contain elastomeric threads, are worn for support and compression during physically active sports, or for protection.





































Md. Emdad Sarker (BUTEX)
Page 1

